Iowa Department of Natural Resources

Change of Sampling Site for Disinfection Byproducts

(TTHM and HAA5)

Note: The replacement site must meet the same targeting criteria as the original site. For example: If the original site was a location where high levels of TTHM were expected, then the replacement site must also be a high TTHM location. If only one site was used in the past, chose a replacement site with the highest levels of TTHM.

Typical Characteristics of Selected Sites

High TTHM sites are at the maximum residence time and are often located:

• hydraulically downstream of storage facilities and booster disinfection,

• in hydraulic dead-ends, where flow of water is low or stagnant, or

• near the ends of the distribution system, at or before the last group of customers.

High HAA5 sites are often located:

• in average residence time locations,

• after booster disinfection with chlorine, or

• low but detectable chlorine residual.

Sample sites should not be located:

• at a dead-end where there are no customers,

• before booster disinfection with chlorine,

• after the last hydrant or blow-off point, or

• in areas with significant biofilms or high heterotrophic bacteria plate count.

| System Name: |  | PWSID: IA |  |
| --- | --- | --- | --- |
| Targeting criteria for the original site (circle one): |
|  | High TTHM High HAA5 Reduced High TTHM and High HAA5 |
| Sample Point ID: DB |  |  |  |  |
|  | (Note: The sample point ID from the original site will continue to be used for the new site.) |
| Original site address: |  |
| New site address: |  |
| Approximate distance between the two sites: |  |  |
| Reason for changing the site: |  |
| Name (print): |  | Title: |  |
| Signature: |  | Date: |  |

Next step:

1. Keep this form with your current Stage 2 DBPR Sampling Plan.

2. Send a copy of the form to:

Iowa DNR – Water Supply Operations Section

502 E 9th St

Des Moines, IA 50319-0034