## DISCLAIMER
Design Review Checklist for Bioretention Cells (Multiple Cell Version)
Iowa Bioretention Cell Review Checklist
Iowa Department of Agriculture and Land Stewardship (IDALS) - Issue date: January 12, 2023
Purpose:
This spreadsheet file has been created to assist in the design and review of Bioretention Cell Projects which are seeking or have obtained funding through the State of Iowa's water quality programs.
This document is intended to be completed by the designer to provide review agencies with project data assembled and presented for review in a consistent manner from project to project.
Using data entered by the designer (data to be entered within the provided blank shaded boxes on each tabulation sheet), this document will complete many of the basic sizing calculation steps following the methods described within the Iowa Stormwater Management Manual (ISWMM).
Contents:
Checklists (to be completed and provided as part of State of Iowa water quality project review):
CL_1: Project Review (2 pages)
WQ_1: Design Calculation Report (sheet 1) - Steps 1-5
WQ_2: Design Calculation Report (sheet 2) - Steps 6-8
WQ_3: Design Calculation Report (sheet 3) - Step 9
WQ_4: Design Calculation Report (sheet 4) - Steps 10-12 and Internal Water Storage
APPLICATION:
This checklist is intended to be used where multiple bioretention cell applications are used to meet Water Quality volume (WQv) requirements.
If any bioretention cells are used to manage runoff from storm events larger than the Water Quality Event (WQv - 1.25" rainfall), provide separate calculations or documentation as applicable. Checklists created for extended dry detention basins may be used to assist in estimating temporary storage volumes and evaluating stormwater detention system performance.
There are two other checklists available for individual bioretention systems. One is a standard version that reviews practices that manage larger storm events and the other is a simple version for bioretention cells that do not provide detention for larger storm events. Systems that operate in "off-line" configuration using a diversion structure to route flows to a bioretention cell should also use the standard version.
DISCLAIMER:
This document is intended only to be used for the purposes as described above. It is expected that designers which use this document are familiar with the Bioretention Cell chapter of ISWMM and understand the methods described within. The user of this document is ultimately responsible for the accurate entry of data into this document and to verify that all included and associated calculations performed are correct and consistent with the methods of design described within ISWMM as applicable to a given project.
By providing this document for use, the State of Iowa, the Iowa Department of Agriculture and Land Stewardship, and any other entity involved in its creation assumes no responsibility for its use, associated calculations or for other project related tasks which are the responsibility of the design professional.

## CL_1 - Project Review
Design Review Checklist for Bioretention Cell Systems (Multiple Cells or Practices)
(Project Review)
| Project: | Project Name
Applicant: |  | Applicant name |  |  | Date: | 2023-03-09
Submitted by: |  | Designer name |  |  | Location: | Enter City or County
Project Review Questions
1. Has drainage area information been entered on Tab WQ_1 (Design Calc 1)?
| Yes |  | No |  | 12 | acres | 522720 | SF
2. Has the impervious % of the watershed area to the bioretention cell been entered on Tab WQ_1 (Design Calc 1)?
| Yes |  | No
3. Total WQv to be treated by the bioretention cells?
[5 empty] | 31808.75 | cubic feet
4a. Has the proposed surface area of each bioretention cell been entered on Tab WQ_3 (Design Calc 3)?
| Yes |  | No
4b. Collectively do the bioretention cells (in combination with any other water quality BMPs) manage the WQv volume to be treated? (see comparison at bottom of Tab WQ_3 (Design Calc 3))
| Yes |  | No
4c. Refer to Tab WQ_3 (Design Calc 3) for the percentage of the upstream impervious area compared to the proposed surface area of each bioretention cell.
5. What is the proposed WQv ponding depth above the level surface of the bioretention cell? (Enter the ponding depth on Tab WQ_2 (Design Calc 2).)
6. Discuss soils investigations findings (e.g. texture, degree of compaction, percolation potential, depth to water table, contamination, etc.). Attach related report, as applicable.
7. Describe pretreatment techniques provided (what practice(s) were used, how were things sized, etc.)
-
-
-
-
8. Describe the bioretention soil media (refer to Iowa Stormwater Management Manual for soil mixes).
|  |  |  | Sand | 75%
|  |  |  | Topsoil | 15%
|  |  |  | Compost | 10%
|  |  |  | Total | 100%
9. Quantities (please attach a copy of materials calculations).
[5 empty] | (quantity) | (units)
Sand
Topsoil
Compost
Shredded hardwood mulch
CL_1 - Project Review
Page 1 | [7 empty] | IDALS: Issue Date: 01/12/2023
User Guidance for CL_2 (Project Review) Tab:
Complete this worksheet by answering all questions.
Answers to question 3 will fill in if the WQ series Tabs are completed.
Proceed to page 2 of this worksheet.

## CL_1 - Project Review (2)
Design Review Checklist for Bioretention Cell Systems (Multiple Cells or Practices)
(Project Review, page 2)
Project: | Project Name |  |  |  | Date: | 2023-03-09
Project Review Questions
10. Is the surface of each ponding area proposed to be level from end to end and side to side?
| Yes | No
11. What is the depth of the aggregate materials? (Enter the depth(s) on Tab WQ_2 (Design Calc 2).)
12. What is the quantity and type of stone aggregate "base" materials (provide quantity calculations)?
13. What is the quantity and type of stone aggregate "choker" materials (provide quantity calculations)?
14. What are the sizes of the perforated subdrains? (Enter the sizes on Tab WQ_4 (Design Calc 4).)
15. Does the subdrain exceed the length calculated in Step 10 of the ISWMM procedure for bioretention cells?
| Yes | No | [see Tab WQ_4 (Design Calc 4)]
16. What is the minimum separation distance from the nearest building foundation? |  |  |  |  | ISWMM guideline
|  |  |  | feet | 25 feet
17. Describe the outlet for the subdrains (connection to inlet, connection to manhole, surface outfall, etc.).
18. Describe the overflow conditions from the bioretention cells for larger storm events (surface inlet, multi-stage inlet structure, overflow spillway, etc. - provide descriptions).
19. Describe the types of plants to be installed within the bioretention cells (general types, spacing, etc.).
20. Describe the size of plants to be installed within the bioretention cells (sizes of pots, plugs, etc.).
21. Describe the quantity of plants to be installed (attach a plant list and planting plan).
22. If seeding it to be done within the bioretention cells, describe the type and quantity of seed along with the proposed application rate (attach a seed mix list).
23. Describe the erosion and sediment control measures to be employed around the cell and in the contributing drainage area.
24. Attach a map of the area expected to drain to the bioretention cells. The map should note all impervious surfaces and show the path of flow to each bioretention cell.
25. Attach a plan view, profile view and applicable cross-sections for proposed construction of the bioretention cells.
26. Has supporting information been provided as applicable (calculations, drainage maps, plans, etc.)?
| Yes | No | N/A
CL_2 - Project Review (continued)
Page 2 | [5 empty] | IDALS: Issue Date: 01/12/2023
User Guidance for CL_2 (Project Review) Tab:
Complete this worksheet by answering all questions.

## WQ_1 - Design Calc 1
Design Review Checklist for Bioretention Cells (Multiple Cells or Practices)
Design Calculation Report - Sheet 1
Project: | Project Name | [10 empty] | Date: | 2023-03-09
Enter Data in Gray, | [5 empty] | Blue | and Yellow Fields
Step 1 - WQv Treatment Volume
Description of Bioretention Area |  | Cell ID # | Upstream Cell or BMP ID#s | Watershed Area (AC) | Impervious (%) | Rv | WQv (CF) | Add. WQv from Upstream Biocells (CF) | Add. WQv from Other Areas or BMPs (CF) | Total WQv to treat (CF) | % of WQv event routed to cell | Total WQv routed to cell (CF) | Balance to be treated by Downstream BMP (CF)
Drainage Area 1 |  | 1 |  | 1 | 100 | 0.95 | 4310.625 | 0 |  | 4310.625 | 100% | 4310.625 | 0
Drainage Area 2 |  | 2 |  | 2 | 50 | 0.5 | 4537.5 |  | 500 | 5037.5 | 100% | 5037.5 | 0
Drainage Area 3 |  | 3 | 1 | 3 | 33.3333 | 0.35 | 4764.375 |  |  | 4764.375 | 75% | 3573.2812 | 1191.0938
Drainage Area 4 |  | 4 | 2 | 1 | 100 | 0.95 | 4310.625 |  |  | 4310.625 | 100% | 4310.625 | 383.3523
Drainage Area 5 |  | 5 | 3,4 | 2 | 50 | 0.5 | 4537.5 | 1574.446 |  | 6111.946 | 100% | 6111.946 | 0
Drainage Area 6 |  | 6 |  | 1 | 100 | 0.95 | 4310.625 |  |  | 4310.625 | 100% | 4310.625 | 4310.625
Drainage Area 7 |  | 7 | 6 | 2 | 50 | 0.5 | 4537.5 | 4310.625 |  | 8848.125 | 100% | 8848.125 | 0
Enter Subarea Name |  | 8 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 9 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 10 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 11 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 12 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 13 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 14 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 15 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 16 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 17 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 18 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 19 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 20 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 21 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 22 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 23 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 24 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 25 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 26 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 27 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 28 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 29 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Enter Subarea Name |  | 30 |  |  |  | 0.05 | 0 |  |  | 0 |  | 0 | 0
Project Bioretention Cell Totals |  |  |  | 12 |  |  | 31308.75 |  | 500 | 31808.75
Step 2. Compute the peak runoff rates for other key rainfall events. If any bioretention cells are used to manage larger storm events, provide separate calculations.
Step 3. Identify if the bioretention system is intended to be an on-line or off-line system. (See notes for Column L)
Step 4. Select, locate and size pretreatment practices. Provide separate calculations, as applicable. See page 22 of ISWMM Bioretention Section.
Step 5. Review entrance designs. Provide separate calculations, as applicable. See page 22 of ISWMM Bioretention Section.
WQ_1 - Design Calculation Sheet 1
Page 3 | [12 empty] | IDALS: Issue Date: 01/12/2023
User Guidance for WQ_1 (Design Calc 1) Tab:
This sheet will complete Step 1 of the calculation method for each bioretention cell, to be used in a series of best management practices (BMPs) to manage the water quality volume (WQv). Steps 2 through 5 may require additional calculations to be completed and provided for review, as applicable. Refer to the Bioretention Cell section of ISWMM for additional guidance.
Column A: For each separate bioretention cell, enter a name or identification number.
Column C: Enter an ID # for each bioretention cell area.
Column D: If stormwater could overflow from another bioretention cell or water quality BMP, enter the ID # of the upstream paver area.
Column E: Enter the watershed area (in acres) directed to each bioretention cell that is not already treated by another water quality practice.
Column F: Enter the % impervious surface cover in the area draining to each bioretention cell. For the purposes of calculating the runoff coefficient (Rv), note that ISWMM guidance recommends considering open space areas with less than 4" or SQR (soil quality restoration) as 50% impervious for the purposes of calculating WQv runoff.
Columns G and H: The spreadsheet will calculate Rv and WQv to be treated once data is entered in Columns E-F.
Column I: If there is WQv volume that bypasses an upstream bioretention cell due to lack of capacity, that excess volume can be entered for the bioretention cell that is located immediately downstream. Values may be taken from Column N (purple column) on this Tab. If excess flow may enter from more than one practice upstream, then the total flow volume from those practices should be entered in this column.
Column J: If there is WQv volume that bypasses another upstream water quality practice or other untreated area, that excess volume can be entered for the bioretention cell that is located immediately downstream. If excess flow may enter from more than one upstream practice or area, then the total flow volume from those locations should be entered in this column.
Column K: This is the total volume to be treated by each practice (Column H + Column I + Column J).
Column L: If a diversion structure is used to route a certain amount of the WQv peak flow rate to the bioretention cell (off-line configuration), the percentage of the WQv peak flow routed to each cell may be entered in this column. If there is no diversion structure, or if all flow from the upstream area will be routed to the cell during the WQv event, enter 100% in this column. If less than 100% is being routed to any practice, include additional calculations for the sizing of the diversion structure and how the % of flow diverted to each cell was computed.
Column M: This column calculates the WQv volume that is routed to each cell, which will be used for sizing each cell.
Column N: If later tabulation sheets find that a bioretention cell lacks the capacity to fully treat the WQv being routed to it, the untreated volume will be reported in this column. Values in this column may be copied or added in Column I for the next bioretention cell downstream. If the balance is to be treated by another type of BMP, include this volume when completing sizing calculations for that practice.
Data from this worksheet will be carried over onto Tabs WQ_2 to WQ_4, as applicable.

## WQ_2 - Design Calc 2
Design Review Checklist for Bioretention Cells (Multiple Cells or Practices)
Design Calculation Report - Sheet 2
Project: | Project Name | [10 empty] | Date: | 2023-03-09
Enter Data in Gray Fields
[5 empty] | Step 6. | Step 7. Design Cross-Sectional Elements. |  |  |  |  | Step 8. Calculate Footprint Area.
Description of Bioretention Area |  | Cell ID # | Upstream Cell or BMP ID#s | Total WQv to treat (CF) | Desired WQv ponding depth (inches) | Mulch layer depth (inches) | Modified soil layer depth (inches) | Choker aggregate layer depth (inche) | Base aggregate layer depth (inches) | Total depth (feet) | Drain time (day) | Coefficient of permeability (k) (in ft/day) | Required ponding area (Af) (in SF)
Drainage Area 1 |  | 1 | 0 | 4310.625 | 6 | 3 | 18 | 3 | 9 | 2.75 | 1 | 2 | 1975.7031
Drainage Area 2 |  | 2 | 0 | 5037.5 | 6 | 3 | 18 | 3 | 9 | 2.75 | 1 | 2 | 2308.8542
Drainage Area 3 |  | 3 | 1 | 3573.2812 | 6 | 3 | 18 | 3 | 9 | 2.75 | 1 | 2 | 1637.7539
Drainage Area 4 |  | 4 | 2 | 4310.625 | 6 | 3 | 18 | 3 | 9 | 2.75 | 1 | 2 | 1975.7031
Drainage Area 5 |  | 5 | 3,4 | 6111.946 | 6 | 3 | 18 | 3 | 9 | 2.75 | 1 | 2 | 2801.3086
Drainage Area 6 |  | 6 | 0 | 4310.625 | 6 | 3 | 18 | 3 | 9 | 2.75 | 1 | 2 | 1975.7031
Drainage Area 7 |  | 7 | 6 | 8848.125 | 6 | 3 | 18 | 3 | 9 | 2.75 | 1 | 2 | 4055.3906
Enter Subarea Name |  | 8 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 9 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 10 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 11 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 12 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 13 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 14 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 15 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 16 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 17 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 18 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 19 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 20 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 21 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 22 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 23 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 24 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 25 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 26 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 27 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 28 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 29 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
Enter Subarea Name |  | 30 | 0 | 0 | [5 empty] | 0 | 1 | 2 | 0
|  |  |  | ISWMM guidelines | 6 - 9 | 2 - 3 | 18 - 30 | 2 - 3
WQ_2 - Design Calculation Sheet 2
Page 4 | [12 empty] | IDALS: Issue Date: 01/12/2023
User Guidance for WQ_2 (Design Calc 2) Tab:
This sheet will complete Steps 6 through 8 of the calculation method for each bioretention cell.
Complete data entry on Tabs WQ_1 (Design Calc 1) before completing information on this worksheet.
Columns A - E: Values from Tab WQ_1 (Design Calc 1) are carried over to these columns for reference.
Column F: Enter the desired WQv ponding depth (in inches). This should be the elevation difference from the top of the level bioretention surface to the lowest elevation where runoff can flow out of the bioretention cell through an inlet, pipe or surface overflow.
Columns G - J: Enter the depths of various subsurface elements in Step 7. The spreadsheet will calculate the total depth of the subsurface elements in Column K.
The spreadsheet will calculate the required ponding area (Af) in Column N, based on the values entered in Steps 7 and 8. This area is the level bottom of the bioretention cell. The required ponding area is calculated in square feet.

## WQ_3 - Design Calc 3
Design Review Checklist for Bioretention Cells (Multiple Cells or Practices)
Design Calculation Report - Sheet 3
Project: | Project Name | [6 empty] | Date: | 2023-03-09
Enter Data in Gray Fields
Step 9 - Design Surface Geometry of Ponding Area
Description of Bioretention Area |  | Cell ID # | Upstream Cell or BMP ID#s | Required ponding area (Af) (in SF) | Ponding area provided (in SF) | WQv routed to cell treated (%) | WQv treated by cell (CF) | Balance to be treated by Downstream BMP (CF) | Ratio of watershed impervious area to biocell area (%)
Drainage Area 1 |  | 1 | 0 | 1975.7031 | 2000 | 100% | 4310.625 | 0 | 4.591%
Drainage Area 2 |  | 2 | 0 | 2308.8542 | 2350 | 100% | 5037.5 | 0 | 5.395%
Drainage Area 3 |  | 3 | 1 | 1637.7539 | 1650 | 100% | 3573.2812 | 1191.0938 | 3.788%
Drainage Area 4 |  | 4 | 2 | 1975.7031 | 1800 | 91.11% | 3927.2727 | 383.3523 | 4.132%
Drainage Area 5 |  | 5 | 3,4 | 2801.3086 | 2825 | 100% | 6111.946 | 0 | 6.485%
Drainage Area 6 |  | 6 | 0 | 1975.7031 | 500 | 25.31% | 0 | 4310.625 | 1.148%
Drainage Area 7 |  | 7 | 6 | 4055.3906 | 4100 | 100% | 8848.125 | 0 | 9.412%
Enter Subarea Name |  | 8 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 9 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 10 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 11 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 12 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 13 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 14 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 15 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 16 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 17 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 18 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 19 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 20 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 21 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 22 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 23 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 24 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 25 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 26 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 27 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 28 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 29 | 0 | 0 |  | 0% | 0 | 0 | 0%
Enter Subarea Name |  | 30 | 0 | 0 |  | 0% | 0 | 0 | 0%
Project Bioretention Cell Totals |  |  |  |  | 15225 |  | 31808.75
[6 empty] | Total WQv to be treated by all systems | 31808.75 | OK
WQ_3 - Design Calculation Sheet 3
Page 5 | [8 empty] | IDALS: Issue Date: 01/12/2023
User Guidance for WQ_3 (Design Calc 3) Tab:
This sheet will complete Step 9 of the calculation method for each bioretention cell.
Complete data entry on Tabs WQ_1 (Design Calc 1) and WQ_2 (Design Calc 2) before completing information on this worksheet.
Columns A - D: Values from Tab WQ_1 (Design Calc 1) are carried over to these columns for reference.
Column E: Values from Tab WQ_2 (Design Calc 2), Column M are carried over to these column.
Column F: Enter the level ponding area provided as per the design plans in this column. To fully manage the WQv volume, this should exceed the value shown in Column E for each cell.
Column G: This column calculates the % of WQv volume that is treated by each cell. If the value of Column F in a given row is less than Column E, the value in this column will be less than 100%.
To avoid overwhelming any one practice, each BMP element needs to manage at least 30% of the WQv volume being routed through it. This includes the area that drains directly to the practice in addition to any remainder of WQv not treated by upstream practices. If this condition is not met, no treatment credit should be given for that specific permeable paver area. In that case, the value in Column G will be shaded red. Refer to guidance in ISWMM Section 9.12-2.
Column H: The WQv volume treated by each cell is calculated in this column (Column E x Column G). If the value in Column G for a bioretention cell is less than 30%, the treatment volume will reset to 0 for that cell. As per the note above, no WQv treatment credit is given for that bioretention cell in that circumstance.
Column I: If the value in Column G is less than 100% for a bioretention cell, the balance of WQv that needs to be treated by downstream practices is calculated in this column (Tab WQ1 Column K - Column H).
If Column I is greater than 0 for a bioretention cell, that volume should be assigned to the next downstream bioretention cell (or other WQv Best Management Practice), based on direction of surface overflow. For example, if a bioretention cell only has 90% of the ponding area required to treat the WQv, the remaining 10% of the WQv should be added to the next practice downstream. This data is carried back for each bioretention cell to Column N on Tab WQ_1 and should be added in the appropriate row for the downstream bioretention cell in Column I on Tab WQ_1.
If the untreated WQv is directed to some other type of water quality BMP (permeable paver installation, pond, stormwater wetland, bioswale, etc.), provide a separate description of that arrangement and include separate documentation of design calculations for that practice, as applicable.
Column J compares the provided ponding area to the impervious area which directly drains to the bioretention cell [Column F / (Tab WQ1 Column E x Tab WQ1 Column F x 43,560 SF/acre)]. This is reported as a percentage (%) of the immediate upstream impervious area.
Row 41: The total ponding area of all cells will calculated in Cell F41. This value may be helpful in calculating material quantities for projects. The total WQv volume treated by the proposed bioretention cells will calculate in Cell H41.
Cell H42: The total WQv to be treated by all systems will calculate in this cell (from Cell K41 on Tab WQ_1). If the value of Cell H41 is less than Cell H42, a warning indicator (!) will appear in Cell I42. If other water quality BMPs are used to manage volumes left untreated by the bioretention cells, provide separate documentation of design calculations for those practices.

## WQ_4 - Design Calc 4
Design Review Checklist for Bioretention Cells (Multiple Cells or Practices)
Design Calculation Report - Sheet 4
Project: | Project Name | [10 empty] | Date: | 2023-03-09
Enter Data in Gray Fields
|  |  |  | Step 10 - Subdrain System Design |  |  |  | Internal Water Storage Calculations
Description of Bioretention Area |  | Cell ID # | Upstream Cell or BMP ID#s | Design Flow Rate (cfs) | Subdrain size (inches) | Subdrain Length Required (feet) | Subdrain Length Provided (feet) | Depth IWS (feet) | Soil Depth Above Top of IWS Zone (inches) | Porosity IWS | Volume IWS (Viws) (in CF) | Target IWS Volume to be Treated (in CF) | Hydraulic Residence Time (HRT) (in hours)
Drainage Area 1 |  | 1 | 0 | 0.046296 | 8 | 100 | 100 | 2 | 18 | 0.35 | 1400 | 1400 | 8.4
Drainage Area 2 |  | 2 | 0 | 0.054398 | 8 | 117.5 | 120 | 1 | 18 | 0.35 | 822.5 | 1400 | 4.2
Drainage Area 3 |  | 3 | 1 | 0.038194 | 8 | 82.5 | 90 | 0.5 | 18 | 0.35 | 288.75 | 1400 | 2.1
Drainage Area 4 |  | 4 | 2 | 0.041667 | 8 | 90 | 100 | 0.5 | 18 | 0.35 | 315 | 1400 | 2.1
Drainage Area 5 |  | 5 | 3,4 | 0.065394 | 8 | 141.25 | 150 | 0.5 | 18 | 0.35 | 494.375 | 1400 | 2.1
Drainage Area 6 |  | 6 | 0 | 0.011574 | 8 | 25 | 30 | 0.5 | 18 | 0.35 | 87.5 | 1400 | 2.1
Drainage Area 7 |  | 7 | 6 | 0.094907 | 8 | 205 | 210 | 2 | 18 | 0.35 | 2870 | 1400 | 8.4
Enter Subarea Name |  | 8 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 9 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 10 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 11 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 12 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 13 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 14 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 15 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 16 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 17 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 18 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 19 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 20 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 21 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 22 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 23 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 24 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 25 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 26 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 27 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 28 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 29 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
Enter Subarea Name |  | 30 | 0 | 0 |  | 0 |  |  |  | 0.35 | 0 |  | 0
[8 empty] | ISWMM guideline (Column J) | 15 - 21 |  |  | ISWMM guideline (Column N) | 6 - 8
Project Totals | [6 empty] | 800 |  |  |  | 6278.125 | 9800 | 64.06%
Step 11. Staged outlet for on-line systems: If any bioretention cells are used to manage larger storm events, provide separate calculations.
Step 12. System outlet and overland spillway design considerations: Provide separate calculations, as applicable.
WQ_4 - Design Calculation Sheet 4
Page 6 | [12 empty] | IDALS: Issue Date: 01/12/2023
User Guidance for WQ_4 (Design Calc 4) Tab:
This sheet will complete Step 10 of the calculation method for each bioretention cell. Steps 11 and 12 may require additional calculations to be completed and provided for review, as applicable. Refer to the Bioretention Cell section of ISWMM for additional guidance.
If the bioretention cells will be designed using the Internal Water Storage (IWS) approach to improve nutrient removals or to meet recharge volume (Rev) goals, this tab may also be used to complete those calculations. If IWS is not part of a bioretention cell system, leave those rows or columns blank.
Complete data entry on tabs WQ_1 through WQ_3 before completing information on this worksheet.
Columns A - D: Values from Tab WQ_1 (Design Calc 1) are carried over to these columns for reference.
Column E: The subdrain percolation design flow rate is calculated by multiplying the coefficient of permeability (k) from Column L on Tab WQ_2 and the ponding area from Column F on Tab WQ_3 and then dividing by 24 hours and 3,600 sec/hour to get the flow rate in cubic feet per second (cfs). If the subdrain outlet is restricted to control the release rate from the subdrain, enter the expected design flow rate in this column for each cell in this Column.
Enter the subdrain size from the design plan in Column F.
Column G calculates the minimum length of subdrain that should be provided within the aggregate footprint area. This value is calculated by multiplying the ponding area from Column F on Tab WQ_3 by 10% and then dividing by 2 feet.
Column H: Enter the length of subdrain provided in the design of each bioretention cell. The length listed in Column H should be longer than the value calculated in Column G.
Enter the design depth of the Internal Water Storage (IWS) zone in Column I. This is measured from the bottom of the IWS zone to the flowline of the elevated subdrain or overflow outlet.
Enter the soil depth above the top of the IWS zone in Column J.
If applicable, enter the recharge volume to be treated in Column M. The value of Viws calculated in Column L should exceed the design recharge volume (Column M), if the practice is expected to fully meet those requirements. (Requirements for recharge volume vary between jurisdictions and in some cases is not required.)
The worksheet will calculate the Hydraulic Residence Time (HRT) in Column N. This value is the Viws (Column L) divided by the subdrain design flow rate (Column E) and then divided by 3,600 seconds per hour.
Row 41: The total subdrain length will calculate in Cell H41. The total Viws provided will calculate in Cell L41. The total target Viws to be treated by the bioretention cells will calculated in Cell M41. If data is entered in Column M, the percentage (%) of the total target Viws treated through internal water storage will calculate in Cell N41.