PWS Name: _____________________	PWSID#: __________  Date: __________

LEAD CONSUMER NOTICE

# ANALYTICAL RESULT FOR LEAD TAP WATER MONITORING

Our public water supply system is required to periodically collect tap water samples to determine the lead levels in our system.  Your residence was selected for this monitoring as part of our system’s sampling plan.  This notice is provided to you with the analytical results of the tap water sample collected at your home.

Sample address: _______________________________________

Sample collection date: __________________________________

Analytical Lead result, in mg/L (milligrams per liter): ____________

Definitions

Action Level (AL): The action level is a concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a public water supply system must follow.  The lead action level is 0.015 mg/L.

Maximum Contaminant Level Goal (MCLG): The maximum contaminant level goal is the level of a contaminant in drinking water below which there is no known or expected risk to health.  The MCLG allows for a margin of safety.  The lead MCLG is zero.

What are the health effects of lead and how can I reduce my exposure?

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. [NAME OF SYSTEM] is responsible for providing drinking water that meets all federal and state standards, but cannot control the variety of materials used in plumbing components.

When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using the water and using only cold water for drinking or cooking. Information on lead in drinking water and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

When replacing your bathroom or kitchen faucet, consider a “lead-free” faucet that meets NSF/ANSI Standard 61 Annex G (California), which is less than 0.25% lead by weight.

Who can I contact at my water system for more information?

Phone number at our public water supply system:

E-mail address at our public water supply system:

PWS Name: _____________________	PWSID#: __________  Date: __________

Consumer Notice Instructions: Community PWS

Per the Lead & Copper Rule consumer notice requirements, you must complete the lead consumer notice, distribute the notice to each home or building that was tested with its specific lead result, and submit a certification of your activities and a copy of the notice to Iowa Department of Natural Resources (IDNR) at the address listed below.

### Consumer Notice Content

You are required to provide the consumer notice to consumers who occupy homes or buildings that are part of your system’s lead & copper monitoring program with the analytical results when their drinking water is tested for lead, including those who do not receive water bills.  The Consumer Notice must include the mandatory language in the example provided with these instructions.  It must be multilingual, where appropriate.

### Distribution of the Consumer Notice

Within 30 days of receiving the analytical results from the laboratory, you must provide the required notice to the people served at each residence or building that was a part of the sampling plan.  This can be accomplished through direct mail, including it with the water utility bill, or by hand delivery.

Multi-family dwellings: Where testing occurs in buildings with many units, such as an apartment building, the notice must be provided to each individual unit that was tested.  The notice does not have to extend to the entire building.

If you wish to use an alternate method that would still meet the requirements, contact the IDNR-Water Supply Operations Section to discuss the method, prior to conducting the notice.  (See your current Operation Permit for the contact information.)

Date completed:				(enclose a copy of notice)

### Delivery Certification

I certify under penalty of law that I am familiar with the information submitted in this document and that it is true, accurate, and complete.

Name (print or type)					Title

Signature							Date

You must send a signed copy of this certification form to the IDNR no later than 3 months following the end of the monitoring period.  You must include with this certification a representative copy of the consumer notice distributed.  Send your consumer notice and certification form to the following address:

IDNR - Water Supply Operations Section

502 E. 9th St.

Des Moines, IA  50319-0034