## Membrane Filtration Unit 1
SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT
IOWA DNR WATER SUPPLY
Membrane Filtration
Plant: |  | TP | [8 empty] | PWSID #:
System Name: | [10 empty] | Month:
Membrane Unit # |  |  | of | [7 empty] | Year:
Test Parameters and Additional Data
DIT Criteria | PTEST (psi) | Min. Test Duration (minutes) | UCL (psi/min) | LRVC-TEST |  |  | Op. Criteria | Max. TMP (psi) | Max. Filter Flux (gfd)
Day | Individual Unit Performance Data
| Operational Data |  |  |  | Direct Integrity Test (DIT) | [5 empty] | Indirect Integrity Test (IIT)
| Daily Prod.(MG) | Daily Max. TMP (psi) | Normalized Specific Flux (gfd/psi) |  | PINITIAL (psi) | PFINAL (psi) | Test Duration (Min.) | ∆PTEST (psi/min) | Within UCL (Y/N) | LRV Verified | Daily Highest Turbidity (NTU) | # of Consec Results > 0.15 NTU | Daily Highest Particle Count | # of Consec Results > 30 counts/mL
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total | [11 empty] | 0 |  | 0
Avg | #DIV/0!
Max | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 |  | 0
Min | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0
I certify that I am familiar with the information contained in this report and that, to the best of my knowledge, the information is true, complete, and accurate.
DRC Operator or Designee's Signature
[6 empty] | Certificate # |  |  |  | Grade: |  | Date:
2020-12-01 | [13 empty] | FORM 542-8109

## Membrane Filtration Summary
SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT
IOWA DNR WATER SUPPLY
Membrane Filtration Summary
Plant: |  | TP | [7 empty] | PWSID #: |  | 0
System Name: |  | 0 | [7 empty] | Month: |  | 0
[10 empty] | Year: |  | 0
Direct Integrity Test (DIT)
Were all DIT results within UCL? | [10 empty] | Yes |  | No
If No, Complete the Table Below:
Were all LRV's verified during the DIT equal to or above the LRV assigned to the unit? | [10 empty] | Yes |  | No
If No, Complete the Table Below:
Corrective Action Taken (If Required)
Membrane Unit # | Date/Time Removed From Service | Description of Repair Work | [5 empty] | Verification of Integrity |  |  |  |  | Date/Time Returned To Service
[8 empty] | PINITIAL | PFINAL | Test Duration (Min.) | ∆PTEST (psi/min) | Within UCL (Y/N)
Indirect Integrity Test (IIT)
Were all membrane units monitored seperately and continuously (every 15 min.) for the entire | [10 empty] | Yes |  | No
month? | If no, explain:
Was the continuous membrane monitoring or recording equipment (every 15 min.) off-line | [10 empty] | Yes |  | No
during the month? |  | If yes, explain:
Did any membrane units experience turbidity exceedances of 0.15 NTU or particle counts of | [10 empty] | Yes |  | No
30 counts/mL in two consecutive measurements taken 15 minutes apart?
If Yes, Complete the Table Below:
Were there any other conditions that initiated a DIT | [10 empty] | Yes |  | No
If Yes, Complete the Table Below:
Corrective Action Taken (If Required)
Membrane Unit # | Date/Time Removed From Service | Triggered DIT |  |  |  |  | Description of Repair Work or Condition | Verification of Integrity |  |  |  |  | Date/Time Returned To Service
|  | PINITIAL | PFINAL | Test Duration (Min.) | ∆PTEST (psi/min) | Within UCL (Y/N) |  | PINITIAL | PFINAL | Test Duration (Min.) | ∆PTEST (psi/min) | Within UCL (Y/N)
2020-12-01 | [12 empty] | FORM 542-8109