## Basic Information
SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT
IOWA DNR WATER SUPPLY
Basic Information
S/EP:
System Name: | [5 empty] | PWSID #: |  |  |  | Month: |  |  | Year:
D a y | Operating Hours | Pumpage |  | Fluoride |  | Raw | Settled Turbidity
[6 empty] | Turbidity | (individual sedimentation basin)
| Number of hours the plant operated per day. | Raw in 1,000s Gallons Per Day | To System in 1,000s Gallons Per Day | Quantity Used in lbs. or gal. (circle one) | Finished Water (mg/L) | Highest Daily Reading (NTU) | Highest Daily Reading Sed 1 (NTU) | Highest Daily Reading Sed 2 (NTU) | Highest Daily Reading Sed 3 (NTU) | Highest Daily Reading Sed 4 (NTU)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0
Avg | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Max | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Min | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I certify that I am familiar with the information contained in this report and that the information is true, complete, and accurate.
DRC Operator or Designee's Signature:
[7 empty] | Certificate #: |  |  | Grade: |  | Date:
October 2018 | [13 empty] | FORM 542-8032

## Disinfection
SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT
IOWA DNR WATER SUPPLY
Disinfection/Oxidation Data Page
| S/EP: | 0
System Name: |  |  | 0 |  |  | PWSID #: | 0 |  |  | Month: | 0 |  | Year: | 0
D a y | Chlorine Residual | [7 empty] | CT | Chlorine | Chlorite |  | Quantity of Disinfectant
| Source/Entry Point (S/EP) |  |  |  | Distribution |  |  |  |  | Dioxide |  |  | Used
| Number of Tests Taken* | Specify Free (F) or Total (T) | Lowest Measured Residual (mg/L) | Continuous Hours Less than 0.3 mg/L Free or 1.5 mg/L Total | Number of Tests Taken | Lowest Measured Residual (mg/L) Circle One T or F | Number with Undetected Residual | Highest Measured Residual (mg/L) | Ratio of CT Obtained to CT Required*** | At S/EP** (mg/L) | At S/EP** (mg/L) | Chlorine Dioxide in lbs. or gals. (circle one) | Chlorine in lbs. or gals. (circle one)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0 | 0 | 0
Avg | [11 empty] | #DIV/0! | #DIV/0! | #DIV/0!
Max |  |  |  | 0 |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
Min |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
*If continuous monitoring of chlorine is provided, enter "C" in the space provided.
**If chlorine dioxide MRDL of 0.8 mg/L or daily chlorite MCL of 1.0 mg/L is exceeded, then "Chlorine Dioxide/Chlorite Supplemental Monitoring Form" must be completed.
***Must be calculated daily and the ratio of CT Obtained to CT Required must be greater than or equal to 1.0 on a daily basis.
I certify that I am familiar with the information contained in this report and that the information is true, complete, and accurate.
DRC Operator or Designee's Signature:
[8 empty] | Certificate #: | 0 |  | Grade: | 0 | Date:
October 2018 | [13 empty] | FORM 542-8032

## Turbidity
SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT
IOWA DNR WATER SUPPLY
Turbidity Data Page 1 of ??
| S/EP: | 0
System Name: |  |  | 0 |  |  |  | PWSID #: | 0 |  |  |  | Month: | 0 |  |  | Year: | 0
D a y | Combined Filter Effluent |  |  | Individual Filter Effluent
| Number of Readings Taken* | Number of Readings >0.3 NTU | Highest Daily Reading (NTU) | #1 |  | #2 |  | #3 |  | #5 |  | #6 |  | #7 |  | #8
|  |  |  | Daily Highest (NTU) | # of Consec Results >1.0 NTU | Daily Highest (NTU) | # of Consec Results >1.0 NTU | Daily Highest (NTU) | # of Consec Results >1.0 NTU | Daily Highest (NTU) | # of Consec Results >1.0 NTU | Daily Highest (NTU) | # of Consec Results >1.0 NTU | Daily Highest (NTU) | # of Consec Results >1.0 NTU | Daily Highest (NTU) | # of Consec Results >1.0 NTU
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Avg
Max |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Min
*If continuous monitoring of turbidity is provided, measurements must be recorded at equal time intervals at least once every 4 hours.
I certify that I am familiar with the information contained in this report and that, to the best of my knowledge, the information is true, complete, and accurate.
DRC Operator or Designee's Signature:
[7 empty] | Certificate #: | 0 |  | Grade: | 0 | Date:
October 2018 | [16 empty] | FORM 542-8032

## Summary
SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT | [16 empty] | SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT
IOWA DNR WATER SUPPLY | [16 empty] | IOWA DNR WATER SUPPLY
Summary Page 1 of 2 | [16 empty] | Summary Page 2 of 2
S/EP: | 0
| SYSTEM NAME: | 0 |  |  |  |  | PWSID #: | 0 |  |  | MONTH: | 0 |  |  | YEAR: | 0
1. DISINFECTANT RESIDUAL ENTERING THE DISTRIBUTION SYSTEM: | [16 empty] | 5. INDIVIDUAL FILTER EFFLUENT PERFORMANCE SUMMARY
a. How many times did the residual disinfectant concentration of the water ENTERING the distribution system fall below 0.3 mg/L of free chlorine, | [16 empty] | Criteria* |  | Filter No.
or 1.5 mg/L of total chlorine for more than 4 hours?
b. Date and duration of each occurrence: | [16 empty] | a. Number of days with event(s) above 1.0 NTU this month
b. Number of days with event(s) above 1.0 NTU last month
|  |  | Date | Duration (Hours) |  |  | Date and Time DNR Notified |  |  |  |  | Person Notified |  |  |  |  | c. Number of days with event(s) above 1.0 NTU two months ago
d. Total number of days with event(s) above 1.0 NTU in three months
e. Number of days with event(s) above 2.0 NTU this month
f. Number of days with event(s) above 2.0 NTU last month
*NOTE: An "event" is considered to be two consecutive turbidity readings taken 15 minutes apart.
2. DISINFECTANT RESIDUAL WITHIN THE DISTRIBUTION SYSTEM: | [16 empty] | For events documented in Item a, system must provide an explanation of the cause of the event, if known.
a. Number of times that the disinfectant residual was measured in the system: | [16 empty] | For the events documented in Item d, a self-assessment report of the filter must be prepared within 14 days unless a CPE is required.
b. Number of times the disinfectant residual WAS NOT measured but where the HPC was measured: | [17 empty] | Date Triggered: | Date Completed:
c. Number of times the disinfectant residual was measured but NOT detected and no HPC was measured: | [16 empty] | For events documented in Item f, a Comprehensive Performance Evaluation by the DNR or its designee is required within 60 days.
d. Number of times the disinfectant residual was measured but NOT detected and the HPC was greater than 500/ml:
e. Number of times where the disinfectant residual WAS NOT measured and the HPC was greater than 500/ml:
6. CALIBRATION/VERIFICATION INFORMATION
[12 empty] | From above Calculate V = [(C+D+E) / (A+B)] x 100%: |  | % |  |  | a. Calibration
[12 empty] | For last month, V was: |  | % |  |  | Instrument/Location |  | Date of Last Calibration
[13 empty] | (V must not exceed 5% for any two consecutive months) |  |  |  | (Example: Hach 1720E/ Filter #1) |  | 2018-01-01
3. CALCULATION OF MAXIMUM RESIDUAL DISINFECTANT LEVEL (MRDL):
Calculation of maximum disinfectant residual is based on the monthly average of the Total chlorine residual measured at the same time compliance bacterial samples are collected (includes repeat/check samples but excludes specials) or include the S/EP chlorine monitoring. The RAA must be calculated at the end of each calendar quarter and include the previous 12 months.
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Actual Month/Year:
# of samples used in calc.:
Monthly Avg.:
[14 empty] | Running Annual Average (RAA)*: | #DIV/0!
*Should be less than the MRDL of 4.0 mg/L
4. FINISHED WATER TURBIDITY:
a. Number of turbidity readings taken:
b. Number of readings greater than 0.3 NTU:
c. Percent of readings less than or equal to 0.3 NTU: | bar: 4
d. Specify date and duration of any turbidity measurement greater than 1 NTU:
|  |  | Date | 1: Duration (Hours); 4: Date and Time DNR Notified; 9: Person Notified
I certify that I am familiar with the information contained in this report and that the information is true, complete, and accurate. | [16 empty] | b. Verification
Turbidimeters are used for compliance purposes.
|  |  |  | 6: DRC Operator or Designee's Signature: |  |  | Turbidimeters were verified WEEKLY between calibrations and were within specification.
(+/- 10% of the reading assigned to the reference material if greater than 0.5 NTU or +/- 0.05 NTU if less than 0.5 NTU)
|  |  |  | 6: Certificate #:; 7: 0; 9: Grade:; 10: 0; 11: Date: |  |  | Turbidimeters were out of specification and the following corrective action was taken:
October 2018 | [15 empty] | FORM 542-8032

## Chlorine Dioxide-Chlorite
SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT
IOWA DNR WATER SUPPLY
Chlorine Dioxide/Chlorite Supplemental Monitoring Page
S/EP: | 0
SYSTEM NAME: |  | 0 |  | PWSID #: | 0 | MONTH: | 0 | YEAR: | 0
Monthly Chlorine Dioxide Daily MRDL Exceedance
NOTE: This monitoring must follow the written sampling plan.
|  | Event: | 1 | 2 | 3 | 4 | 5 | 6
Date S/EP sample exceeded 0.8 mg/L:
Measured Level:
Event |  | Following days' results: | Date | Time | Location | Level
1 |  | Source/Entry Point: | NOTE: This monitoring must follow the written sampling plan. 3: S/EP; NOTE: This monitoring must follow the written sampling plan. 5: Was MRDL; NOTE: This monitoring must follow the written sampling plan. 6: Non-acute | Acute
|  | Distribution (3): | NOTE: This monitoring must follow the written sampling plan. 5: Exceeded?; NOTE: This monitoring must follow the written sampling plan. 6: Violation | Violation*
|  |  | NOTE: This monitoring must follow the written sampling plan. 5: (Yes/No); NOTE: This monitoring must follow the written sampling plan. 6: (Yes/No) | (Yes/No)
2 |  | Source/Entry Point: | NOTE: This monitoring must follow the written sampling plan. 3: S/EP; NOTE: This monitoring must follow the written sampling plan. 5: Was MRDL; NOTE: This monitoring must follow the written sampling plan. 6: Non-acute | Acute
|  | Distribution (3): | NOTE: This monitoring must follow the written sampling plan. 5: Exceeded?; NOTE: This monitoring must follow the written sampling plan. 6: Violation | Violation
|  |  | NOTE: This monitoring must follow the written sampling plan. 5: (Yes/No); NOTE: This monitoring must follow the written sampling plan. 6: (Yes/No) | (Yes/No)
3 |  | Source/Entry Point: | NOTE: This monitoring must follow the written sampling plan. 3: S/EP; NOTE: This monitoring must follow the written sampling plan. 5: Was MRDL; NOTE: This monitoring must follow the written sampling plan. 6: Non-acute | Acute
|  | Distribution (3): | NOTE: This monitoring must follow the written sampling plan. 5: Exceeded?; NOTE: This monitoring must follow the written sampling plan. 6: Violation | Violation*
|  |  | NOTE: This monitoring must follow the written sampling plan. 5: (Yes/No); NOTE: This monitoring must follow the written sampling plan. 6: (Yes/No) | (Yes/No)
4 |  | Source/Entry Point: | NOTE: This monitoring must follow the written sampling plan. 3: S/EP; NOTE: This monitoring must follow the written sampling plan. 5: Was MRDL; NOTE: This monitoring must follow the written sampling plan. 6: Non-acute | Acute
|  | Distribution (3): | NOTE: This monitoring must follow the written sampling plan. 5: Exceeded?; NOTE: This monitoring must follow the written sampling plan. 6: Violation | Violation*
|  |  | NOTE: This monitoring must follow the written sampling plan. 5: (Yes/No); NOTE: This monitoring must follow the written sampling plan. 6: (Yes/No) | (Yes/No)
5 |  | Source/Entry Point: | NOTE: This monitoring must follow the written sampling plan. 3: S/EP; NOTE: This monitoring must follow the written sampling plan. 5: Was MRDL; NOTE: This monitoring must follow the written sampling plan. 6: Non-acute | Acute
|  | Distribution (3): | NOTE: This monitoring must follow the written sampling plan. 5: Exceeded?; NOTE: This monitoring must follow the written sampling plan. 6: Violation | Violation*
|  |  | NOTE: This monitoring must follow the written sampling plan. 5: (Yes/No); NOTE: This monitoring must follow the written sampling plan. 6: (Yes/No) | (Yes/No)
6 |  | Source/Entry Point: | NOTE: This monitoring must follow the written sampling plan. 3: S/EP; NOTE: This monitoring must follow the written sampling plan. 5: Was MRDL; NOTE: This monitoring must follow the written sampling plan. 6: Non-acute | Acute
|  | Distribution (3): | NOTE: This monitoring must follow the written sampling plan. 5: Exceeded?; NOTE: This monitoring must follow the written sampling plan. 6: Violation | Violation*
|  |  | NOTE: This monitoring must follow the written sampling plan. 5: (Yes/No); NOTE: This monitoring must follow the written sampling plan. 6: (Yes/No) | (Yes/No)
*For each Acute violation event, provide the following information:
|  | Event: | 1 | 2 | 3 | 4 | 5 | 6
Date & Time DNR Notified:
Person Notified:
Monthly Chlorite Daily MCL Exceedance
Did daily S/EP monitoring result exceed MCL of 1.0 mg/L (Yes or No)?
Were three distribution samples collected the following day (Yes or No)?
What was the average of the three distribution samples?
Was a non-acute MCL violation incurred (Yes or No)?
I certify that I am familiar with the information contained in this report and that the information is true, complete, and accurate.
DRC Operator or Designee's Signature:
|  |  |  | Certificate #: | 0 | Grade: | 0 | Date:
October 2018 | [8 empty] | FORM 542-8032

## p1-TOC
SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT FORM | [15 empty] | Step 1 TOC Removal Requirement MATRIX
IOWA DNR WATER SUPPLY SECTION | [12 empty] | Source-water TOC [mg/L] between… |  | Source-water alkalinity [mg/L as CaCO3] between…
Total Organic Carbon (TOC) Removal | [14 empty] | 0 | to 60 | >60 | to 120 | >120 | or more
S/EP: | 0 | [11 empty] | >2.0 | and 4.0 | 35% | Removal | 25% | Removal | 15% | Removal
System Name: | 0 |  |  |  |  | PWSID #: | 0 |  | Month: | 0 | Year: | 0 | >4.0 | and 8.0 | 45% | Removal | 35% | Removal | 25% | Removal
[13 empty] | >8.0 | or more | 50% | Removal | 40% | Removal | 30% | Removal
Note: Systems are required to run one TOC Sample Set every month. Additional space is provided for those systems that do additional sampling
[13 empty] | 1.) | Look at raw water TOC. If <2.0, use ACC 1.
| Date | Monthly TOC Sample Set |  |  | Actual % TOC Removed (calculated) | Step 1 Required % Removal (from Matrix) | Step 1 Removal Ratio (calculated) | Optional data |  |  |  | Compliance Removal Ratio (calculated) | 2.) | Calculate actual monthly TOC removal.
|  | Raw Alkalinity | Raw TOC | Treated TOC |  |  |  | Step 2 Required % Removal (attach Step2 form) | Step 2 Removal Ratio (calculated) | ACC # used (attach ACC form) | ACC Removal Ratio (calculated) |  |  |  | (1 - (treated water TOC/source water TOC)) x 100
[13 empty] | 3.) | Determine required monthly TOC % removal from matrix.
[13 empty] | 4.) | Calculate the Step 1 removal ratio.
[15 empty] | actual monthly TOC % removal/required monthly TOC % removal | [5 empty] | Do not remove these 0s
[13 empty] | 5.) | Calculate Annual average | [6 empty] | 0
[15 empty] | Sum of monthly % removal ratio / 12 | [5 empty] | 0
0
[13 empty] | NOTE: | Contact IDNR Water Supply Engineering Section before completing any Step 2 Jar Testing. | [6 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
| Avg. | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
| Max. | 0 | 0 | 0 | 0
| Min. | 0 | 0 | 0 | 0 |  | 0
MONTHLY TOTAL ORGANIC CARBON REMOVAL SUMMARY
| TOC Summary | [5 empty] | TOC % Removal Summary |  |  |  | TOC Removal Ratio
| Raw Water Alkalinity |  | Raw Water TOC |  | Treated Water TOC |  | TOC % Removal |  | Requirement
| #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0!
CALCULATION OF TOTAL ORGANIC CARBON REMOVAL RATIO RUNNING ANNUAL AVERAGE:
The RAA must be calculated at the end of each calendar quarter and include the previous 12 months.
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Actual Month/Year:
Monthly Avg.:
[11 empty] | Running Annual Average (RAA)*: | #DIV/0!
*Should be greater than or equal to 1.00
I certify that I am familiar with the information contained in this report and that the information is true, complete, and accurate.
DRC Operator or Designee's Signature:
[7 empty] | Certificate #: | 0 | Grade: | 0 | Date:
October 2018 | [11 empty] | FORM 542-8032

## p2and3-ACC
SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT FORM
IOWA DNR WATER SUPPLY
Alternative Compliance Criteria Report Page 1 of 2
| S/EP #: | 0
| System Name: | 0 | [5 empty] | PWSID #: | 0 |  |  | Month: | 0 |  | Year: | 0
This Alternative Compliance Criteria (ACC) Report is being submitted to request the following ACC: (check one)
#1 |  | #2 |  | #3 |  | #4 |  | #5 |  | #6 |  | #7 |  | #8
Source Water TOC less than 2.0 mg/L? (calculated quarterly as a running annual average)
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
#1 |  |  | Actual Month/Yr
Monthly TOC
|  |  | RAA | 12: #DIV/0!
Treated Water TOC less than 2.0 mg/L? (calculated quarterly as a running annual average)
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
#2 |  |  | Actual Month/Yr
Monthly TOC
|  |  | RAA | 12: #DIV/0!
Source Water TOC less than 4.0 mg/L? (calculated quarterly as a running annual average)
AND Source Water Alkalinity over 60 mg/L (as CaCO3)? (calculated quarterly as a running annual average)
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Actual Month/Yr
Monthly TOC
|  |  | RAA TOC | 12: #DIV/0!
#3 |  |  | Monthly Alkalinity
| Avg. |  | RAA Alkalinity | 12: #DIV/0!
Max.
| Min. |  |  | 1: Yearly Average TTHM:; 6: mg/L; 7: Yearly Average HAA5:; 12: mg/L
ATTACH COPY OF COMPLIANCE REPORT FOR DISINFECTION BY-PRODUCTS (TTHM AND HAA5)
TTHM and HAA5 no greater than 0.040 mg/L and 0.030 mg/L, respectively?
|  |  |  | Yearly Average TTHM: |  |  |  |  | mg/L | Yearly Average HAA5: |  |  |  |  | mg/L
ATTACH COPY OF COMPLIANCE REPORT FOR DISINFECTION BY-PRODUCTS (TTHM AND HAA5)
#4 | AND only chlorine is used in the whole plant and distribution system.
I certify that for the last 12 months, only free chlorine was used as a disinfectant for primary disinfection and for maintenance of a residual in the distribution system.
|  |  | Certified Operators Signature: | 7: Certification #:; 10: Date:
Source water SUVA less than or equal to 2.0 L/mg-m? (calculated quarterly as a running annual average)
(Source water SUVA is the ultraviolet light absorption at 254 nanometers divided by the dissolved organic carbon concentration in the source water before any treatment of any kind. Measure monthly.)
# 5 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Actual Month/Year
Monthly SUVA
|  |  | RAA SUVA | 12: #DIV/0!
Treated water SUVA less than or equal to 2.0 L/mg-m? (calculated quarterly as a running annual average)
(Treated water SUVA is the ultraviolet light absorption at 254 nanometers in the finished water divided by the dissolved organic carbon concentration before any disinfection of any kind. Measured monthly)
#6 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Actual Month-Year
Monthly SUVA
|  |  | RAA SUVA | 12: #DIV/0!
October 2018 | [15 empty] | FORM 542-8032
SURFACE WATER/INFLUENCED GROUNDWATER MONTHLY OPERATION REPORT FORM
IOWA DNR WATER SUPPLY
Alternative Compliance Criteria Report Page 2 of 2
System must be practicing Enhanced Softening for use of ACC #7 & #8
Treated water alkalinity less than 60 mg/L (as CaCO3)? (calculated quarterly as a running annual average)
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Actual Month-Year
#7 |  |  | Monthly Treated Alkalinity
|  |  | RAA Treated Alk. | 12: #DIV/0!
AND cannot achieve the Step 1 TOC removal requirement
| Step 1 Compliance Summary: |  |  | 2: TOC % Removal Summary
[5 empty] | TOC % Removal |  |  | Requirement |  | TOC Removal Ratio
Magnesium hardness removal greater than or equal to at least 10 mg/L (as CaCO3)? (calculated quarterly as a RAA)
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Actual Month-Year
Monthly Raw Mg. Hardness
Monthly Treated Mg. Hardness
#8 |  |  | Monthly Mg Removal
|  |  | RAA Mg Removal | 12: #DIV/0!
AND cannot achieve the Step 1 TOC removal requirement
| Step 1 Compliance Summary: |  |  | 2: TOC % Removal Summary
[5 empty] | TOC % Removal |  |  | Requirement |  | TOC Removal Ratio
I certify that I am familiar with the information contained in this report and that the information is true, complete, and accurate.
DRC Operator or Designee's Signature:
[7 empty] | Certificate #: |  | 0 |  | Grade: | 0 | Date: