|  | Iowa Department of Natural Resources Underground Storage Tank Section 502 East 9th Street Des Moines, IA 50319-0034 |
| --- | --- |
|  | UST Release Report |  |
|  | UST # |  |
|  | LUST # |  |
| RELEASE REPORT INFORMATION |
| RELEASE REPORTED BY: |  |
| COMPANY: |  | PHONE: |  |
| ADDRESS: |  |
| CITY: |  | STATE: |  | ZIP: |  |
| DATE RELEASE DISCOVERED: |  | DATE RELEASE REPORTED: |  |
| SITE INFORMATION |
| SITE NAME: |  |
| SITE ADDRESS: |  |
| CITY: |  | COUNTY: |  | ZIP: |  |
| FACILITY OWNER INFORMATION |
| OWNER/OPERATOR NAME: |  |
| COMPANY NAME: |  |
| OWNER/OPERATOR STREET ADDRESS: |  |
| CITY: |  | STATE: |  | ZIP: |  |
| OWNER/OPERATOR PHONE NUMBER: |  |
| PROPERTY OWNER INFORMATION (if different than facility owner): |
| PROPERTY OWNER NAME: |  |
| COMPANY NAME: |  |
| PROPERTY OWNER STREET ADDRESS: |  |
| CITY: |  | STATE: |  | ZIP: |  |
| PROPERTY OWNER PHONE NUMBER: |  |

| RELEASE INFORMATION |
| --- |
| SUBSTANCE RELEASED: | E-85 |  | HEATING OIL |
| GASOLINE |  | DIESEL |  | WASTE OIL |
| BIODIESEL |  | KEROSENE |  | OTHER: |  |
| ESTIMATED AMOUNT OF SUBSTANCE RELEASED: |  |  |
| HOW WAS RELEASE DISCOVERED: |  |
| UST Closure |  | Field Office Visit |  | Environmental Audit |  | UST Inspection |
| Vapors Detected |  | Sump Sensor |  | Line Leak Detector |  | Citizen Complaint |
| Service Visit |  | Line Tightness Test |  | Tank Tightness Test |  | Site Check |
| Cathodic Protection Testing |  | Inside Secondary Containment Sump |
| Tank Leak Detector (Indicate Method): |  | Other (Specify): |
| CAUSE OF RELEASE: | Flex Connector |  |
| Install Problem |  | Overfill | Spill of Customer | Physical/Mechanical Problem |
| Dispenser Leak |  | Tank Leak | Line Leak | Leak Detector |
| Corrosion |  | Unknown | Other (Specify): |  |
| SOURCE OF RELEASE: |  |
| Tank |  | Piping | Submersible Turbine Pump |
| Delivery Problem |  | Dispenser | Other (Specify): |  |
| PRODUCT DELIVERY: |  | Pressurized | Suction |  | Safer Suction |
| PIPING MATERIAL: |  | Steel | Fiberglass |  | Flex |
| BRIEF DESCRIPTION OF THE RELEASE: |
| Briefly describe the release (including but not limited to where release was discovered, amount of free product present, location of free product). Provide/attach a sketch of the location of the release (specific or general location). |

| MEDIA AFECTED BY RELEASE: |
| --- |
| Surface Soil |  | Subsurface Soil | Drainage Ditch |  | Public Water Supply Well |
| Storm Sewer |  | Groundwater | Sanitary Sewer |  | Non-Potable Water Supply Well |
| Vapors Inside Offsite Commercial Building |  | Vapors Inside Residence |  | Domestic Water Supply Well |
| Vapors Inside Onsite Commercial Building |  | Creek/Stream/River/Lake |  |  |  |

| RESULTS OF EXPOSURE ASSESSMENT (if immediately available): |
| --- |
| How many private drinking water wells are located within 1,000 feet of the site? |  |
| How many public water supply wells are located within 1,000 feet of the site? |  |
| Have any drinking water supply wells been affected by contamination from this release? | Yes No |
| Is there imminent threat of contamination to any drinking water wells? | Yes No |
| Have vapors or contaminated groundwater posed a threat to the public? | Yes No |
| Are any underground utilities affected or imminently threatened by the release? | Yes No |
| Have surface waters been affected by the release? | Yes No |
| Is there an imminent threat of contamination to surface waters? | Yes No |
| What is the type of surrounding population? (Commercial, Residential, Industrial) |  |
| ~ATTACH OTHER COMMENTS AS NECESSARY~ |
| REPORT RELEASES TO IOWA DNR CENTRAL OFFICE |
| EMERGENCY RESPONSE Phone: 515/725-8694 Fax : 515/281-7229 | DNR – UST SECTION Phone: 515/725-8200 Fax: 515/725-8202 |
| Overnight Mailing Address: DNR UST Section, Wallace State Office Bldg., 502 E 9TH ST, Des Moines, IA 50319-0034 |
| REPORT RELEASES TO APPROPRIATE DNR FIELD OFFICE |
| Field Office | Phone | Fax | Field Office | Phone | Fax |
| 1-Manchester | 563.927.2640 | 563.927.2075 | 4-Atlantic | 712.243.1934 | 712.243.6251 |
| 2-Mason City | 641.424.4073 | 641.424.9342 | 5-Des Moines | 515.725.0268 | 515.725.0218 |
| 3-Spencer | 712.262.4177 | 712.262.2901 | 6-Washington | 319.653.2135 | 319.653.2856 |